## Bioversity
CENTRE NAME: |  | Bioversity
AUDITORS: |  | Janny van Beem (QMS and Standards), Simon Linington (Standards)
AUDIT SCOPE: |  | Conservation--documentation audit
AUDIT DATE: |  | 26 April 2018 - 31 of August 2018
REPORT DATE: |  | 20 of July, 2018
AUDIT FINDINGS | [7 empty] | POST-AUDIT RESPONSE |  | Clearance Round 1 (Y/N) | COMMENTS | Clearance Round 2 (Y/N/NA) | COMMENTS | CLEARANCE DATE
Finding No. | Location/ Section | Clause and Source | Description of the finding | Proposed Improvement | Mandatory or Recommendation (M/R) | Evidence required (Y/N) | Evidence due date | Actions taken to address finding | Evidence provided (such as links, documents)
Bioversity-2018-CONS-1 | Policy | Clause 3.3.1 QMS: Audit Guide and Clause List v1.6 | The QMS Audit Guide and Clause List states that "the genebank shall have policies regarding germplasm in its collections including criteria for acquisition, introduction into long-term storage, medium-term storage and temporary holdings, inactivation, reactivation, archiving, duplicates, distribution, safety duplication and availability. " The Conservation SOP does not adequately describe curation policies. | Submit the genebank's curation policies as a Related Document. The conservation policies should describe criteria for the introduction of accessions into long-term, medium-term and temporary storage (e.g., mandate, legal status, health status, quantity and viability/vigour thresholds, the intervals at which accessions are tested for viability/vigour, the actions when viability/vigour and inventory fall below thresholds, "de-materialization" (e.g., in the event of loss of an MLS accession), and the steps taken when duplicate accessions are identified). | M | Y | 2018-08-03 | Related document describing the Bioversity genebank curation policy submitted with the revised SOP. | Bioversity Genebank curation Policy (version Aug2018) | Y | A draft of Bioversity's Genebank Curation Policy was submitted as part of this audit. | NA | Finding cleared in Round 1 | 2018-09-28
Bioversity-2018-CONS-2 | Procedure | QMS | A comprehensive in vitro Conservation SOP describes the following key activities: -introduction into the collection, -conservation (parameters, monitoring of inventory and health), -subculturing (to increase inventory), -propagation (for distribution, safety duplication and phytosanitary testing) -rejuvenation (of old accessions in field and greenhouse areas). The SOP does not adequately define or describe some of the key activities listed above. | In Section 3 of the SOP, define the terms relevant to your procedure (e.g., introduction, conservation, subculturing, propagation, multiplication, rejuvenation and regeneration). Regarding this terminology, confirm that the SOP uses the terms consistently throughout the document. Confirm that the SOP clearly describes steps for key activities listed in the finding. If activities are described in other SOPs, kindly submit those sections along with the improved Conservation SOP. | M | Y | 2018-08-03 | Terms relevant to the procedure are defined in Section 3 Procedure revised for consistent use of the terminology throughout the document. The SOP describes the steps for the key activities listed in the findings except for -introduction into the collection, which is described in the Acquisition SOP. | Acquisition SOP Section describing the Introduction of an accession | Y | Terms have been defined and corrected throughout the SOP. Activities related to the initiation/ introduction of accessions into the collection will be checked in the upcoming Acquisition audit (November 2018). The genebank has submitted text that partially describes these activities. | NA | Finding cleared in Round 1 | 2018-09-29
Bioversity-2018-CONS-3 | Procedure | Page 10 FAO. 2014. Genebank Standards for PGRFA | The FAO Genebank Standards state that "genebanks shall strive to ensure that the material they are conserving and distributing are free from diseases and regulated pests." Although the procedure mentions performance parameters in Table 1, it is unclear how the genebank classifies the health status of in vitro accessions (quarantine vs. non-quarantine) and when key phytosanitary evaluations are done during conservation activities. | State the health status categories for in vitro accessions and their implications for conservation and distribution. Supplement the information in Table 1 by providing an annex with a list of specific diseases and pests, activities/steps in which they are monitored and the impact they have on decisions regarding the management of genebank material. For quarantine diseases state how infected material is disposed. | M | Y | 2018-08-03 | Health status categories added. Key phytosanitary evaluations are usually done at the end of the germplasm acquisition phase and completed early in the conservation phase; the health status categories for in vitro accessions, including reference to the testing procedures followed, and their implications for the distribution and management of the germplasm in conservation are stated in 6.1. Multiplication | https://drive.google.com/file/d/0B6WMCDtu_Ljpb2ZDUHhVb0hLWUk/view | Y | Health status categories have been explained in step 6.1 Details of the virus indexing process are described in a separate SOP, SOP BIOV-VIC-001 and listed in the Technical Guidelines. It would be advisable to add the "Technical guidelines for the safe movement of Musa germplasm" to the list of Related Documents in Section 7. Step 6.3.3 explains how infected material is disposed. | NA | Finding cleared in Round 1 | 2018-09-29
Bioversity-2018-CONS-4 | Materials and Equipment | Clause 4.7.2, FAO. 2014. Genebank Standards for PGRFA Genebanks CRP Barcoding Initiative 2016 | The FAO Genebank Standards state that "All data and information generated in the genebank relating to all aspects of conservation and use of the material should be recorded in a suitably designed database." Although improvements have been made regarding centralized databases and barcoding, it appears that there are areas and procedures where data is not captured in databases and barcodes are not used for data retrieval and capture. | State if the genebank captures data and information related to all processes of conservation and use in a central database and makes use of barcoding for data retrieval and capture. Submit a brief update including: 1) a list of areas and procedures in which data is retrieved and captured from a central database and barcodes are used for data retrieval and capture, 2) a list of areas and procedures in which data is not yet directly integrated into a central database and barcodes are not utilized and, 3) the plan to put into operation a central database and implement barcoding in areas, procedures and locations where they are not currently used. | M | Y | 2018-08-03 | Statement added under 2. Scope regarding data and information management in a central database(MGBMS) and the use of barcoding for all processes described in this SOP. 1) data are directly captured and retrieved from a central database using barcoding for all processes of the key activities in the procedure. The data capturing is briefly described as step in each of the processes of key activities in 6. Procedure under 6.1.13., 6.2.4., 6.3.10., 6.4.14./6.4.20., 6.5.11., 6.6.1.8., 6.6.3.6. . 2) not applicable; all data are directly integrated in the database using barcodes 3) not applicable. See 2) |  | Y | Centralized data capture and barcoding have been adequately explained. | NA | Finding cleared in Round 1 | 2018-09-29
Bioversity-2018-CONS-5 | Materials and Equipment | QMS-Equipment | The Materials and Equipment section does not state the specifications for barcode labels and ribbons that would withstand the extreme temperature, moisture and light conditions in genebank operations. | Specify in the Materials and Equipment section the type of printers, ribbons (ink) and labels used for barcoding in seed processing, drying, MTS and LTS that are explicitly manufactured to withstand extreme temperatures, moisture and light. | M | Y | 2018-08-03 | Equipment: Barcode Printers: brand and type information added Materials: Barcode labels: labels and ribbon specifications added |  | Y | Manufacturer and model for printer labels and ribbons has been added in Section 5 of the SOP | NA | Finding cleared in Round 1 | 2018-09-29
Bioversity-2018-CONS-6 | Infrastructure and Work Environment | Text, p 27, FAO. 2014. Genebank Standards for PGRFA | The FAO Genebank Standards state that "the genebank shall maintain records of storage temperature deviations and periods when accessions are removed from the storage environment. " The SOP describes the monitoring of temperature and relative humidity in MTS. it is unclear how frequently the alarms related to monitoring the conditions in the rooms are calibrated and tested. | For temperature and relative humidity alarms, submit the schedule for calibration and testing. | M | Y | 2018-08-03 | No schedule for calibration and testing of the temperature control and monitoring system is available at the genebank. The main T controlling system for MTS is under the management of the hosting institute. An inquiry for information about the accuracy checking procedure will be made to the relevant Service of the hosting Institute. Mobile dataloggers for monitoring the RH and T in the genebank have a life of three years and are calibrated once, when they are put in use. |  | Y | The genebank currently monitors and calibrates mobile dataloggers within the chambers. Further text was added on page 5 that explains how ITC and Leuven record and monitor conditions on a weekly basis through the use of software. | NA | Finding cleared in Round 1 | 2018-09-29
Bioversity-2018-CONS-7 | Infrastructure and work environment | QMS | The "Infrastructure and Work Environment" section describes area specifications, monitoring of temperature and relative humidity and specific protocols and alarms that safeguard staff and collections. The SOP does not describe the way in which the Center responds to significant threats to the collections such as fire or flooding. | In a Related Document, briefly describe the genebanks 24-hour emergency plan in the event of a significant threat to the collections such as fire or flooding. Include the following: 1) number and type of alarms and emergency equipment currently in place at the genebank and the frequency with which fire alarms are tested, 2) the mechanism by which the alarms are detected and handled (e.g., the fire alarm triggers an audible siren and sends an electronic notification to maintenance crew, genebank manager and key genebank staff), 3) the Centre's list of "First Responders " trained to address the hazards during the day, night or weekends, 4) the frequency with which the 24-hour emergency response is tested. | M | Y | 2018-08-03 | Related document describing the emergency first response plan of the genebank including a description of the 1) type of alarms and frequency of testing, 2) mechanisms of alarm detection and handling, 3) First Intervention Team and responsibilities 4) frequency of emergency evacuation drills available. In Section 5 of the SOP under Equipment, reference to the full emergency plan of the hosting institute is added. | Bioversity Genebank Emergency Management Plan– First response plan document | Y | A separate document titled "Bioversity Genebank Emergency Management Plan" was submitted as evidence. It describes actions to be taken in case of fire, contact personnel and evacuation procedures. | NA | Finding cleared in Round 1 | 2018-09-29
Bioversity-2018-CONS-8 | Occupational Health and Safety (OH&S) | QMS | The Occupational Health and Safety section states that activities performed in the Conservation SOP comply with requirements and recommendations in the Centre's Health and Safety Manual. The SOP does not describe specific precautions taken when working in MTS and other areas. | Add text in the OH&S section describing all necessary precautions taken when staff work in MTS including the time allowed to stay in the areas, specific precautions taken in the event that a staff member works alone and prevention of cold/heat shock when moving from outside environments to inside conditions and vice versa. Ensure staff familiarity with health and safety measures by evaluating staff knowledge of requirements and recommendations. | M | Y | 2018-08-03 | No specific precaution measures are taken or required for working in the MTS area as temperature in the MTS cold storage room for Musa germplasm is 16°C. There are no prevention measures needed for staff moving from this area to other genebank areas where temperature ranges between 20°C-23°C in the labs and 26°C in the culture rooms. The only safety measure for staff working in the genebank labs and conservation area is the wearing of lab shoes and a protective lab coat at all times while performing the conservation procedure. |  | Y | The genebank has adequately described safety measures and has explained why no additional health measures are necessary in MTS and other areas. | NA | Finding cleared in Round 1 | 2018-09-29
Bioversity-2018-CONS-9 | QMS template | QMS | The Staff Training and Competency section lists the job title of staff who have been trained to perform the activities. The SOP does not explicitly list the names of the genebank staff who are competent to perform the activities described. | Update the Staff Training and Competency sections in all SOPs to include staff names and contact information. | M | Y | 2018-08-03 | Staff training and Competency section updated: Staff names and contact information added. |  | Y | Names of staff who are competent to perform activities in the SOP have been added. | NA | Finding cleared in Round 1 | 2018-09-29
Bioversity-2018-CONS-10 | QMS template | QMS | The Approver of an SOP provides an independent review of the document and ensures technical accuracy and compliance with standards and treaties. The current version of the SOP has an Owner but not an Approver. | Update the SOP to include an Approver. | M | Y | 2018-08-03 | SOP updated, including the SOP Approver. |  | Y | Name of the approver of the SOP has been added. | NA | Finding cleared in Round 1 | 2018-09-29